## GHG Data
GHG Data
Use this worksheet to report data from a single GHG monitoring campaign. Refer to the Data Dictionary worksheet for recommended variables, definitions, units, and reporting guidance. A monitoring campaign is the measurement of one or more greenhouse gases within a defined spatial boundary and monitoring period using consistent measurement methods, instrumentation, and data collection procedures. Submit separate worksheets for monitoring campaigns that differ in spatial boundary, monitoring period, measurement method, instrumentation, or data collection procedures.
Metadata
Field | Value |  |  |  | Field | Value
Organization Name |  |  |  |  | Dataset Name
Primary Contact |  |  |  |  | Reporting Start
Contact Job Title |  |  |  |  | Reporting End
Contact Email |  |  |  |  | Measurement Boundary
Facility Name |  |  |  |  | Measurement Approach
Facility Permit |  |  |  |  | Frequency
Facility Type |  |  |  |  | Instrument or Analyzer
Data Anonymization Preference |  |  |  |  | Calibration Information
Data Use Notes |  |  |  |  | Dataset Notes
GHG Variable Data Table
Use a separate copy of this worksheet for each reporting interval or source-system export, such as 15-minute, hourly, daily, monthly, or reporting-period total data. Do not combine variables with different reporting intervals in the same worksheet unless they are reported using the same timestamps. | [20 empty] | Copy and paste table colums to report additional data.
| Tag 1 | Tag 2 | Tag 3 | Tag 4 | Tag 5 | Tag 6 | Tag 7 | Tag 8 | Tag 9 | Tag 10 | Tag 11 | Tag 12 | Tag 13 | Tag 14 | Tag 15 | Tag 16 | Tag 17 | Tag 18 | Tag 19 | Tag 20
| Description | Description | Description | Description | Description | Description | Description | Description | Description | Description | Description | Description | Description | Description | Description | Description | Description | Description | Description | Description
| Sampling Location | Sampling Location | Sampling Location | Sampling Location | Sampling Location | Sampling Location | Sampling Location | Sampling Location | Sampling Location | Sampling Location | Sampling Location | Sampling Location | Sampling Location | Sampling Location | Sampling Location | Sampling Location | Sampling Location | Sampling Location | Sampling Location | Sampling Location
| Process Area | Process Area | Process Area | Process Area | Process Area | Process Area | Process Area | Process Area | Process Area | Process Area | Process Area | Process Area | Process Area | Process Area | Process Area | Process Area | Process Area | Process Area | Process Area | Process Area
Timestamp | Unit | Unit | Unit | Unit | Unit | Unit | Unit | Unit | Unit | Unit | Unit | Unit | Unit | Unit | Unit | Unit | Unit | Unit | Unit | Unit

## Data Dictionary
Data Dictionary
Recommended variables for GHG monitoring campaigns. Units shown are typical reporting units; use the Units row in the GHG data worksheet to specify the units associated with reported values. Measurements should correspond to the monitoring period and monitoring boundary defined for the monitoring campaign.
Variable Name | Variable Description | Unit | Notes | Data Type
Gas Concentration | Target GHG concentration measured in gas phase, including sampled gas, chamber headspace, plume, offgas, or ambient air. | ppm, ppmv, ppb, mg/m3 | Specify target gas separately, such as CH4, N2O, or CO2. | Numeric
Background Gas Concentration | Background or upwind target GHG concentration used to correct or interpret measurements. | ppm, ppmv, ppb | Relevant for plume, open-path, tracer, mobile, and sensor network methods. | Numeric
Path-Integrated Gas Concentration | Target GHG concentration integrated over an optical path. | ppm-m, ppb-m | Use for open-path TDLAS, TD-Lidar, or similar optical methods. | Numeric
Dissolved Gas Concentration | Target GHG concentration measured in liquid phase. | mg/L, ug/L | Use for liquid grab samples or in situ liquid sensors. | Numeric
Surface Flux | Target GHG emitted per unit surface area per unit time. | g/m2/hr, mg/m2/hr | Typically used for floating chambers, flux hoods, or surface flux methods. | Numeric
Emission Rate | Total target GHG emitted from a source, process area, or facility per unit time. | kg/hr, g/hr, kg/d | Use for quantified results from QOGI, chambers, tracer methods, inverse dispersion modeling, TDLAS, TD-Lidar, or other quantification methods. | Numeric
Detection Result | Qualitative detection result for the target GHG. | detected, not detected, suspected, confirmed | Useful for OGI cameras, metal oxide sensors, and screening surveys. | Numeric
Detection Threshold | Minimum detectable concentration, flux, or emission rate for the measurement method. | ppm, ppb, g/hr, kg/hr, varies | Supports interpretation of non-detect results. | Numeric
Offgas Flow Rate | Exhaust, vent, or offgas flow rate used to calculate emissions from concentration data. | scfm, m3/hr, m3/d | Use where concentration is paired with measured or estimated gas flow. | Numeric
Tracer Concentration | Measured concentration of tracer gas. | ppm, ppb | Use for mobile tracer gas dispersion datasets. Specify tracer gas separately. | Numeric
Tracer Release Rate | Known controlled release rate of tracer gas. | kg/hr, g/min, slpm | Use for mobile tracer gas dispersion datasets. Specify tracer gas separately. | Numeric
Temperature | Temperature associated with the measurement. | deg C, deg F | Specify whether this is gas, liquid, or ambient temperature in the notes or metadata. | Numeric
Atmospheric Pressure | Air or gas pressure associated with the measurement. | kPa, atm, mbar, psi | Useful for gas concentration correction, chamber calculations, and field measurements. | Numeric
Relative Humidity | Relative humidity of sampled gas or ambient air. | % | Relevant where humidity correction affects concentration or instrument response. | Numeric
Wind Speed | Wind speed during measurement. | m/s, mph | Important for OGI, TDLAS, TD-Lidar, inverse dispersion, and mobile tracer methods. | Numeric
Wind Direction | Wind direction during measurement. | degrees, cardinal | Supports plume attribution, open-path interpretation, and dispersion modeling. | Numeric
Uncertainty | Reported measurement or modeled uncertainty associated with the result. | %, kg/hr, g/hr, varies | Use where uncertainty is provided by the instrument, model, laboratory, or analyst. | Numeric

## Lookups (hidden)
Data Anonymization Preference | Measurement Boundary | Measurement Approach |  | Frequency | Processing Status | Energy Type | Energy Boundary | Process Area | Quality Flag | Variable Category | Data Type
Choice | Choice | Choice | Description | Choice | Choice | Choice | Choice | Choice | Choice | Choice | Choice
Public: identify organization and facility | Point or Source-Specific: single point, vent, duct, surface, pipe, channel, or equipment item | Aerial Survey | Drone, airplane, or satellite measures plume and estimates emissions. | Periodic: individual measurement events collected at specific times | Raw Measurement: original measured value | Electricity: electricity use or generation | Plant Total Electricity, Gross: total electricity consumed before subtracting onsite generation | Choice | Good | GHG | Numeric
Anonymous: do not identify organization or facility | Unit Process: defined treatment unit or process train | Mobile Lab | Vehicle-mounted sensors measure downwind plumes. | Continuous: readings collected at regular intervals | Converted Value: converted from original units or form | Natural Gas: natural gas use | Plant Purchased Electricity, Net: grid electricity purchased after onsite generation offsets demand | Wastewater Influent Pumping | Estimated | Energy | Text
Partial: identify organization only | Process Area: group of related sources or units interpreted together | Tracer Gas Dispersion | Known tracer release is compared with target gas concentration. |  | Calculated Flux: flux calculated from measurements | Diesel: diesel fuel use | Process-Level Electricity: electricity used by a specific process, building, equipment train, or MCC | Wastewater Primary Treatment | Missing | Process | Boolean
| Facility-Wide: total facility or clearly defined facility boundary | Ground Sensor Network | Perimeter or ground sensors estimate emissions using modeling. |  | Emission Rate: measured or calculated emission rate | Gasoline: gasoline fuel use | Fuel Purchased: fuel delivered or purchased during the reporting period | Wastewater Secondary Aeration | Suspect | Other | Date/Time
|  | Open-Path Laser Spectroscopy | Laser path measures integrated gas concentration. |  | Modeled Facility Total: value estimated using a model | Propane: propane fuel use | Fuel Consumed: fuel actually used during the reporting period | Wastewater Secondary Pumping and Mixing | Partial Interval |  | Categorical
|  | Gas Grab Sample | Discrete gas sample from headspace, vent, gas line, or exhaust. |  | Aggregated Summary Value: summary across times, sources, or intervals | Heating Oil: heating oil use | Energy Generated Onsite: electricity or heat produced onsite | Wastewater Secondary Clarification | ND: below detection limit
|  | Liquid Grab Sample | Liquid sample analyzed for dissolved methane or nitrous oxide. |  | Quality-Screened Value: value after screening or QA/QC | Biogas: biogas production or use | Recovered Heat: useful heat recovered onsite | Wastewater Tertiary and Advanced Treatment | NULL: missing value
|  | Manual Flux Chamber | Chamber deployment used to calculate surface flux. |  |  | Recovered Heat: recovered useful heat |  | Wastewater Disinfection
|  | Continuous Flux Chamber | Flux chamber connected to a real-time analyzer. |  |  | Other: describe in notes |  | Wastewater Effluent and Reuse Pumping
|  | Offgas Grab Sample | Sample from exhaust duct, channel, stack, or covered outlet. |  |  |  |  | Wastewater Thickening
|  | Continuous Offgas Analyzer | Permanent analyzer installed in exhaust channel or stack. |  |  |  |  | Wastewater Dewatering
|  | In-Situ Liquid Sensor | Sensor installed in liquid for dissolved gas measurements. |  |  |  |  | Wastewater Anaerobic Digestion
|  | In-Situ Gas Sensor | Sensor installed in gas phase, vent, or gas line. |  |  |  |  | Wastewater Biogas Handling and Energy Recovery
|  | Handheld Optical Gas Imaging | Infrared camera survey for leaks or diffuse emissions. |  |  |  |  | Wastewater Sidestream Treatment
|  | Fixed Optical Gas Imaging | Mounted camera monitors a defined area. |  |  |  |  | Wastewater Odor Control
|  | Headspace Equilibration | Liquid sample equilibrated with headspace and back-calculated. |  |  |  |  | Wastewater Chemical Systems
Wastewater Thermal Processing
Stormwater Pumping and Flow Control
Drinking Water Raw Water Pumping and Conveyance
Drinking Water Conventional Treatment
Drinking Water Advanced Treatment
Drinking Water Disinfection and Chemical Systems
Drinking Water Finished Water Pumping and Storage
Desalination Treatment
Concentrate and Residuals Management
Facility Buildings and Support Systems